## Slide 1
`Cross disciplinary applications`
Annual Meeting and Workshop
Detector technology and systems platform
KIT Karlsruhe
November 19th – November 21th
Radiation Physics, HZDR
Fine Fiedler

## Slide 2
Ultrafast data
transfer and
reconstruction
Intelligent programmable
hardware
Near detector
optical signal
transmission
Fastest data
processing with
highly parallel
architectures
Detector types
Fast photon and
X-ray detectors
Diamond detectors
Detectors for
thermal neutrons
Compact gas detectors
Technologies for
assembling highly
integrated detectors
3D ASICs
Mixed-signal ASICs
3D / high-Z sensors
Packaging and interconnection technologies
Innovative detector structure materials
Cross disciplinary application
DTSP – Detektor Technology and Systems Platform

## Slide 3
Cross disciplinary application
This topic will look for specific application fields outside “Matter”
Visibility of the technological competencies
Search for interdisciplinary cross-program opportunities
Particularly promising application, examples:
  Dose monitoring for ion therapy
  Reduced radiation exposure for Computed Tomography
  Ultra-sound Computed Tomography
  Non-destructive material analysis with positron life time spectroscopy
  Homeland security

## Slide 4
This topic will look for specific application fields outside “Matter”
Visibility of the technological competencies
Search for interdisciplinary cross-program opportunities
Particularly promising application, examples:
  Dose monitoring for ion therapy
  Reduced radiation exposure for Computed Tomography
  Ultra-sound Computed Tomography
  Non-destructive material analysis with positron life time spectroscopy
  Homeland security
Cross disciplinary application
Prototypic application for DTSP could be:
Compton camera:
Coherent development and combination of various sub-domains for an application with common benefit
All sub-domains are technological challenging
No real cutting edge detector development, however
Novelty: Systemic solution-focused development, all components need special and highly skilled support

## Slide 5
Cross disciplinary application – Dose monitoring for ion therapy
Laser radiooncology
In-vivo dosimetry
Physics
In-beam PET
Tomographic reconstruction
Motion compensation
In-vivo dosimetry
Treatment planning
Clinical application
Data evaluation
In-room PET
Laser proton acceleration
Research infrastructure
Detector laboratory
Dept. of Research Technology
Nuclear physics
IKTP
New group leader started Nov 1st
In-vivo dosimetry
Research group dedicated to
Detectors and DAQ
Hardware for Clinical system

## Slide 6
Cross disciplinary application – Dose monitoring for ion therapy
Some successful experiments at KVI and ELBE
Systemic expertise, handling of innovative scintilators and measurement of relevant quantities
g-ray spectrum @ 55 MeV p beam
Ce:GAGG scintillator on a Hamamatsu MPPC
g-ray spectrum @ 55 MeV p beam
HPGE Detector (KVI), 0.3-8 MeV: 0.015 g p-1
PRELIMINARY
June 2012
August 2012
S. Brandenburg, P. Dendooven, F. Fiedler, F. Hueso-Gonzales, C. Golnik, H. Kiewiet, A. Müller, D. Oxley

## Slide 7
  Cross disciplinary application –
  Non-destructive material analysis with positron life time spectroscopy
511 keV
Bremsstrahlung beam, 26/13 MHz rep rate
Chart: Energy / MeV
| 0 | 0.41025641025641024 | 0.82051282051282048 | 1.2307692307692308 | 1.641025641025641 | 2.0512820512820511 | 2.4615384615384617 | 2.8717948717948718 | 3.2820512820512819 | 3.6923076923076925 | 4.1025641025641022 | 4.5128205128205128 | 4.9230769230769234 | 5.333333333333333 | 5.7435897435897436 | 6.1538461538461542 | 6.5641025641025639 | 6.9743589743589745 | 7.384615384615385 | 7.7948717948717947 | 8.2051282051282044 | 8.615384615384615 | 9.0256410256410255 | 9.4358974358974361 | 9.8461538461538467 | 10.256410256410257 | 10.666666666666666 | 11.076923076923077 | 11.487179487179487 | 11.897435897435898 | 12.307692307692308 | 12.717948717948717 | 13.128205128205128 | 13.538461538461538 | 13.948717948717949 | 14.358974358974359 | 14.76923076923077 | 15.179487179487179 | 15.589743589743589 | 16
0.649931944 | 0.64993 | 1 | 0.67598 | 0.51991 | 0.41453 | 0.33199 | 0.27481 | 0.22712 | 0.19114 | 0.16384 | 0.14247 | 0.12436 | 0.1082 | 0.094897 | 0.084695 | 0.074644 | 0.068083 | 0.060154 | 0.055474 | 0.049912 | 0.045135 | 0.041236 | 0.037357 | 0.034025 | 0.030917 | 0.028339 | 0.026039 | 0.023213 | 0.021104 | 0.018603 | 0.016964 | 0.015143 | 0.013152 | 0.01107 | 0.0094273 | 0.0074963 | 0.0053305 | 0.0031279 | 0.0013846 | 0.00041571
Siemens’ LSO-based commercial 13x13 PET pixel detector
F. Fiedler, F. Fritz, M. Kempe, S. Schöne, A. Wagner

## Slide 8
  Cross disciplinary application –
  Non-destructive material analysis with positron life time spectroscopy
all
prompt
Prompt / all
Copper
Aluminium
Steel
long
short
F. Fiedler, F. Fritz, M. Kempe, S. Schöne, A. Wagner

## Slide 9
This topic will look for specific application fields outside
  high energy physic, “Matter” , Helmholtz Association
Visibility of the technological competencies
Websites, …, leaflet for outreach and communication, Contribution to physical journals, Helmholtz publication, Job advertisements
Workshops HZDR – OncoRay with Ascenion for valorization
What else?
Cross disciplinary application

## Slide 10
  Cross disciplinary application – Workshop

## Slide 11
  Cross disciplinary application – Workshop
Tomography, data processing and image reconstruction for medicine and engineering

## Slide 12
  Cross disciplinary application – Workshop
Tomography, data processing and image reconstruction for medicine and engineering
6 Sessions: Hardware, Simulation, Tomography – medicine and engineering, Reconstruction, GPU

## Slide 13
  Cross disciplinary application – Workshop
Tomography, data processing and image reconstruction for medicine and engineering

## Slide 14
  Cross disciplinary application – Workshop
Tomography, data processing and image reconstruction for medicine and engineering
Ascenion | 1
DESY | 1
FZJ | 7
GSI | 1
HZDR | 18
HZG | 5
KIT | 2
OncoRay | 5
TU Dresden | 5
TU München | 2 S 47

## Slide 15
  Cross disciplinary application – Workshop
Tomography, data processing and image reconstruction for medicine and engineering
6 Sessions: Hardware, Simulation, Tomography – medicine and engineering, Reconstruction, GPU
25 talks, 2 social events, 47 registrants, 1 Abstract book
Positive feedback like “I found interesting and helpful contacts I would have never met in my ‘normal’ community”

## Slide 16
  Cross disciplinary application – More Workshops
Tomography, data processing and image reconstruction for medicine and engineering

## Slide 17
  Cross disciplinary application – More Workshops
Tomography, data processing and image reconstruction for medicine and engineering

## Slide 18
  Cross disciplinary application – More Workshops
Tomography, data processing and image reconstruction for medicine and engineering
532. Wilhelm und Else Heraeus Seminar
May 2013

## Slide 19
Thank you
  Cross disciplinary application
To do:
Workshops
DTSP Leaflet?
…
Any suggestion and ideas are higly welcome