## Slide 1
GRK-Day - 2023 KIT
Compton backscattering
Work supported by DFG through GRK 2128
Notes: Hello, my name is Chrstoph Lorey, and I will give you a brief status update on the Thomson Backscattering Investigation at MESA, which is the topic of my PhD here at the Institute of Nuclear Physics, the KpH of the Johannes Gutenberg university Mainz

## Slide 2
Compton Backscattering used for...
Investigation of nuclear structure and cross-sections
Nuclear resonance fluorescence
Photo-Fission
Photo Nuclear Reactions
Brilliant light source at TU Darmstadt
Crystallography microscopic radiography…
Material & Biomedical Science
Non-destructive detection
Energy and energy spread
ERL with LCB development
Electron Beam Diagnostics
Near future:
Far future:
+
Bright, monochromatic and tunable X-Ray (to γ Ray) sources of very small size

## Slide 3: Compton Backscattering – Photon Energy
Scattered photon energy
Higher photon energy preferred
Scattered photon gains energy
Lorentz boost of scattered photon energy

## Slide 4
Compton/Thomson Backscattering - Recoil
θ : observation angle of scattered
photon in lab reference system
electron & photon 3D-momenta
Thomson cross-section is very low:
3D Recoil factor :
Notes: - Man denkt bei Kollision Photon – Elektron passiert nicht viel beim Elektron, aber ein bisschen Rückstoß gibt es eben schon
- Rückstoß auf Elektron in relativistischem Zweikörperstoß betrachten
- Recoilfaktor beispielrechnen (3 Fälle, zeigen das einheitenlos klein rauskommt)

## Slide 5
Compton/Thomson Backscattering - Recoil
θ : observation angle of scattered
photon in lab reference system
electron & photon 3D-momenta
Thomson cross-section is very low:
3D Recoil factor :
Notes: - Man denkt bei Kollision Photon – Elektron passiert nicht viel beim Elektron, aber ein bisschen Rückstoß gibt es eben schon
- Rückstoß auf Elektron in relativistischem Zweikörperstoß betrachten
- Recoilfaktor beispielrechnen (3 Fälle, zeigen das einheitenlos klein rauskommt)

## Slide 6
Compton/Thomson Backscattering - Recoil
θ : observation angle of scattered
photon in lab reference system
electron & photon 3D-momenta
Thomson cross-section is very low:
3D Recoil factor :
Notes: - Man denkt bei Kollision Photon – Elektron passiert nicht viel beim Elektron, aber ein bisschen Rückstoß gibt es eben schon
- Rückstoß auf Elektron in relativistischem Zweikörperstoß betrachten
- Recoilfaktor beispielrechnen (3 Fälle, zeigen das einheitenlos klein rauskommt)

## Slide 7
Compton/Thomson Backscattering - Recoil
θ : observation angle of scattered
photon in lab reference system
Thomson cross-section is very low:
3D Recoil factor :
recoil examples:
for
Notes: - Man denkt bei Kollision Photon – Elektron passiert nicht viel beim Elektron, aber ein bisschen Rückstoß gibt es eben schon
- Rückstoß auf Elektron in relativistischem Zweikörperstoß betrachten
- Recoilfaktor beispielrechnen (3 Fälle, zeigen das einheitenlos klein rauskommt)

## Slide 8
Impacted Electron Phase Space
Qbunch | = 0.77 pC
mne | = 2000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σth | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
Ēe ≈ 130.511 MeV
Ēe ≈ 130.197 MeV

## Slide 9: Compton Backscattering - Flux
-
Flux
Luminosity
Head-On
High Laser Pulse Energy
High scattering frequency
Small beam size at IP
For higher Energy
Easier overlap
Head-On Collision
Higher photon energy preferred

## Slide 10: Compton Backscattering | Bandwidth
Relative bandwidth
Low
Low ;
R. Hajima et al., Phys. Rev. Accel. Beams 19, 020702 (2016)
High Laser Pulse Energy
High scattering frequency
Small beam size at IP
For higher Energy
Easier overlap
Head-On Collision
Higher photon energy preferred

## Slide 11
Thomson Backscattering at MESA
possible location for
Thomson scattering arc
Courtesy of D. Simon
10 m
Mainz Energy-recovering Superconducting Accelerator MESA
- MESA can generate electron beams up to 105-155 MeV
- 0.77 (7.7) pC bunch charge at 1300 MHz RF-frequency
- can run in Energy Recovery (ER) or External Beam (EB) mode
- spin polarization of the electron beam available at lower beam current of 150µA instead of 1mA

## Slide 12
Sampling scheme as currently under development

## Slide 13: Results of Comparse
Cross-section in 3D electron rest frame space

## Slide 14: Results of Comparse
Polarized (fully linear) cross-section in 3D electron rest frame space

## Slide 15: Results of Comparse
Polarized (fully linear) scattered photons on screen

## Slide 16: Results of Comparse

## Slide 17: Laser Compton Backscattering @ S-DALINAC
Laser
Injector
Main Accelerator
Electron Guns
40 m Beam Transport
For higher Energy
Easier overlap
Head-On Collision
Higher photon energy preferred
Low
Low ;
High Laser Pulse Energy
High scattering frequency
Small beam size at IP

## Slide 18: Coupling Chamber of LCB-Source
Electron Beam deposition < 1%

## Slide 19: Laser System
Small beam size at IP
1030 nm (Ytterbium)
100 W
mJ
200 kHz – 40MHz
Amplitude – Laser Tangor 100
Low
Low ;
High Laser Pulse Energy
High scattering frequency
For higher Energy
Easier overlap
Head-On Collision
Higher photon energy preferred
SHG: nm
THG: nm
Higher Harmonic Generation

## Slide 20: Laser Beam Line
Low
High Laser Pulse Energy
High scattering frequency
Small beam size at IP
For higher Energy
Easier overlap
Head-On Collision
Higher photon energy preferred
Low ;

## Slide 21: Laser Beam Transport
Simulation:
Zemax OpticStudio
  Physical optics propagation
40 m beam transport
Telescopes and “relay imaging“
Off-axis parabolic mirror with hole
Physical optics propagation @ IP:
Total power: 94.5 W (100 W)
Waist size: 53.6 µm (12 mm)
Rayleigh length: 8.8 mm

## Slide 22: Laser Compton Backscattering @ S-DALINAC
39MeV - 98,8 MeV & 10 μA(~3 fC) @3 GHz
Injector
Main Accelerator
Electron Guns
28keV - 179.7 keV
< 500 Photons /s
MOPA-Laser: 95 W @ 1030 nm, 475 µJ, 3ps
200kHz
Parameters | Values
Electron Beam | 
Electron Energy () | 
Rel. Error of Electron Energy () | 
Beam Current () | 
Beam normalized emittance | 
Electron Beam Size () | 
Laser Beam | 
Wavelength () | 
Photon Energy () | 
Error Photon Energy () | 
Pulse Energy () | 
Repetition Rate () | 
Beam Size () | 
Scattered Photon – Results for Head-On Collision | 
Energy | 
Min. rel. Energy Bandwidth, FWHM | 
Total Flux | 
Spectral Flux at min. Bandwidth | 
Parameters | Values
Electron Beam | 
Beam normalized emittance | 
Laser Beam | 
Scattered Photon – Results for Head-On Collision | 
Energy | 
Min. rel. Energy Bandwidth, FWHM | 
Total Flux | 
Spectral Flux at min. Bandwidth | 

## Slide 23: Background Measurement @S-DALINAC
Maximum Electron Beam Energy: 85 MeV
Electron Beam Energy in 3. Recirculation: 65 MeV
Electron Beam Current: 5 µA
MOPA-Laser: 100 W @ 1030 nm, 0.5 mJ, 3ps,
200kHz, = 100µm
Measurement
Simulation
LCB: 77.8keV 473 Ph/s

## Slide 24
Current Status and Outlook
We can calculate the polarized and unpolarized angular Thomson cross section with linear laser polarization and the relativistic 3D collision between photon and electron with recoil
The sampling routine combining the polarized cross section and relativistic collision calculation with a flux formula to estimate realistic scattered photon distributions in space will be finalized
We will verify our results using simulation software and measurements
Finally, several case studies of varying laser and electron beam energies and polarizations including concrete MESA implementation scenarios will form the feasibility study
Redistribution of the Quadrupoles
Compton Backscattering Simulations
(Atoosa Meseck, Christoph Lorey)
Internship at KPH Uni Mainz
Write & Publish a Paper
Techniques for photon flux measurements
Data Analysis
Test Setup in Parts
Laser Transport, Coupling Chamber
Pre-Commissioning
Electron Beam Simulations: Elegant
Beam Dynamic Simulations
Finish Order Process
Finish with PhD Thesis
Final Measurement
Commissioning

## Slide 25
Thank you!
Supported by…

## Slide 26
Thank you for your attention!
Fin. ...for now

## Slide 27
Unpolarized Thomson Cross Section
Derived from the general Klein-Nishina cross section of photons scattered by a single free electron.

## Slide 28
Unpolarized Thomson Cross Section
Derived from the general Klein-Nishina cross section of photons scattered by a single free electron.
stars * denote parameters
in the center of mass system
Acquired by relativistic Lorentz boost in four vector algebra
Used because scattering is easier calculated in the center of mass rest frame

## Slide 29
Unpolarized Thomson Cross Section
Derived from the general Klein-Nishina cross section of photons scattered by a single free electron.
Acquired by relativistic Lorentz boost in four vector algebra
Used because scattering is easier calculated in the center of mass rest frame

## Slide 30
Unpolarized Thomson Cross Section
Derived from the general Klein-Nishina cross section of photons scattered by a single free electron.
In our calculations often < 1
unitless

## Slide 31
Unpolarized Thomson Cross Section
Derived from the general Klein-Nishina cross section of photons scattered by a single free electron.
The differential Thomson cross section is dependant on scattering angle θ* and recoil Δ.

## Slide 32
Unpolarized Thomson Cross Section
Ee | = 155 MeV
Qbunch | = 0.77 pC
no | polarisation
λ | = 1030 nm
Eph | ≈ 1.2037 eV
σc0 | ≈ 6.6525·10-29m2
Δ | ≈ 0.0029
Notes: - Hier lieber nicht MESA Wert
- im grauen Feld: Recoil
- Recoilfälle wie bei Curatolo

## Slide 33
Calculation of Scattered Photons on a Screen
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σth | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 34
Calculation of Scattered Photons on a Screen
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σth | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 35
Polarization: Stokes Notation
information is commonly defined via Stokes parameters forming the Stokes vector
  : degree of linear polarization
  : degree of circular polarization
  : azimuthal angle of linear polarization
  : azimuthal angle of scattering plane
incident photon: are defined in
scattered photon: are defined in
Table: William H. McMaster, Rev. Mod. Phys. 33, 8 (1961)
Notes: in ensemble particle view:
  circular polarization: particles have same handedness
  linear polarization: superposition of left- and right-handed resulting in an oscillation
Unterschied Polarisation und Helizität

## Slide 36
Polarization: Stokes Notation
information is commonly defined via Stokes parameters forming the Stokes vector
  : degree of linear polarization
  : degree of circular polarization
  : azimuthal angle of linear polarization
  : azimuthal angle of scattering plane
incident photon: are defined in
scattered photon: are defined in
Fig: C. Sun and Y. K. Wu, Phys. Rev. ST Accel. Beams 14, 044701
Table: William H. McMaster, Rev. Mod. Phys. 33, 8 (1961)
Notes: in ensemble particle view:
  circular polarization: particles have same handedness
  linear polarization: superposition of left- and right-handed resulting in an oscillation
Unterschied Polarisation und Helizität

## Slide 37
Scattering Images with Polarisation
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 38
Scattering Images with Polarisation
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 39
Scattering Images with Polarisation
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 40
Scattering Images with Polarisation
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 41
Scattering Images with Polarisation
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 42
Scattering Images with Polarisation
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 1030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 43
What about Spin and circular polarization?
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 44
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
In Thomson scattering, the circular
polarization is inverted in the process
What about Spin and circular polarization?

## Slide 45
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
In Thomson scattering, the circular
polarization is inverted in the process
What about Spin and circular polarization?

## Slide 46
Electron Spin Interaction with High Energy Photons (0.01030nm)
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 47
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
Electron Spin Interaction with High Energy Photons (0.01030nm)

## Slide 48
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
Electron spin effects are not observed
if the electron spin vector points in the
momentum direction z...
Electron Spin Interaction with High Energy Photons (0.01030nm)

## Slide 49
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
...or the initial photon energy is
set well below 100keV.
Electron Spin Interaction with High Energy Photons (0.01030nm)

## Slide 50
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
Electron Spin Interaction with High Energy Photons (0.01030nm)
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024

## Slide 51
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024
Electron Spin Interaction with High Energy Photons (0.01030nm)
Qbunch | = 0.77 pC
mne | = 100000
θ | = 0
λ | = 0.01030 nm
Ee | = 130 MeV
Eph | ≈ 1.2037 eV
E’ph | ≈ 313.323 keV
σup | ≈ 6.6525·10-29m2
 | Δ ≈ 0.0024