## Slide 1: Status of the Project 8 neutrino mass experiment
Hannah Binney, on behalf of the Project 8 experiment
Postdoctoral Researcher, MIT Laboratory for Nuclear Science
NuMass Workshop | April 13, 2026

## Slide 2: The motivation for direct neutrino mass measurements continues to grow
Establishes differences between neutrino masses
Places a lower limit on neutrino masses
Probe | Observable
Oscillation experiments | 
Neutrinoless double beta decay | 
Cosmology | 
Direct kinematic mass measurements | 
Probe | Observable
Oscillation experiments | 
Neutrinoless double beta decay | 
Cosmology | 
Direct kinematic mass measurements | 
Vogel, P., Wen, L. & Zhang, C. Nat Commun 6, 6935 (2015)

## Slide 3: The motivation for direct neutrino mass measurements continues to grow
Would measure effective Majorana mass, only if neutrinos are Majorana
Depends on nuclear matrix elements that must be calculated
Probe | Observable
Oscillation experiments | 
Neutrinoless double beta decay | 
Cosmology | 
Direct kinematic mass measurements | 
Probe | Observable
Oscillation experiments | 
Neutrinoless double beta decay | 
Cosmology | 
Direct kinematic mass measurements | 
MAJORANA Demonstrator experiment

## Slide 4: The motivation for direct neutrino mass measurements continues to grow
Places strong upper limits on sum of neutrino masses
Currently prefers negative neutrino mass
Highly dependent on cosmological models
Elbers et. al. (2025) https://arxiv.org/abs/2503.14744
IO
NO
IO
NO
Probe | Observable
Oscillation experiments | 
Neutrinoless double beta decay | 
Cosmology | 
Direct kinematic mass measurements | 
Probe | Observable
Oscillation experiments | 
Neutrinoless double beta decay | 
Cosmology | 
Direct kinematic mass measurements | 

## Slide 5: The motivation for direct neutrino mass measurements continues to grow
Measurement based on distortion to endpoint of spectrum as neutrino carries energy away
Model-independent
Probe | Observable
Oscillation experiments | 
Neutrinoless double beta decay | 
Cosmology | 
Direct kinematic mass measurements | 
Probe | Observable
Oscillation experiments | 
Neutrinoless double beta decay | 
Cosmology | 
Direct kinematic mass measurements | 
B. Alpert et. al., Eur Phys J C Part Fields (2015) doi: 10.1140/epjc/s10052-015-3329-5
Electron capture decay of 163Ho
3H
3He
e-
Tritium beta decay
KATRIN, PTOLEMY, QTNM, Project 8
ECHo, HOLMES

## Slide 6: Tritium beta spectroscopy for direct neutrino mass measurement
Q = 18.6 keV
3H
3He
e-
Observable: electron-weighted effective neutrino mass

## Slide 7: KATRIN experiment
*
*KATRIN collaboration, Science (2025)
KATRIN (2025)*
KATRIN (goal)
The KATRIN experiment has used tritium beta decay spectroscopy to great success
Magnetic Adiabatic Collimation + Electrostatic filter (MAC-E) approach integrating spectrometry
How to increase sensitivity if mass remains unmeasured?
Electrons with enough energy to pass the analyzing plane are measured in the detector
M. Arenz et al 2016 JINST 11 P04011
Reaching the limit of MAC-E scalability

## Slide 8: Cyclotron radiation emission spectroscopy (CRES)
to measure
cyclotron frequency
average magnetic field experienced by electron
kinetic energy
count rate
3H
3He
e-
cyclotron motion
detection of cyclotron radiation

## Slide 9: Anatomy of a CRES event
Start frequency ()
Frequency jump due to scatter off gas
Frequency chirp due to radiated energy
Project 8 Collaboration, Phys. Rev. Lett. 131, 102502 (2023)

## Slide 10: Advantages of CRES
It’s a frequency measurement!
Differential spectrometry
Don’t need to transport electrons from source to measure their energy
Very low background
Compatible with atomic tritium
Never measure anything but frequency!
Arthur Schawlow, co-inventor of the laser and Nobel Prize winner
Start frequency ()

## Slide 11: Advantages of CRES
It’s a frequency measurement!
Differential spectrometry
Don’t need to transport electrons from source to measure their energy
Very low background
Compatible with atomic tritium
MAC-E technique gives integral spectrum
CRES gives differential spectrum
The KATRIN Collaboration. Nat. Phys. 18, 160–166 (2022).
Project 8 Collaboration, Phys. Rev. Lett. 131, 102502 (2023)
Project 8 Collaboration, Phys. Rev. C 109, 035503 (2024)

## Slide 12: Advantages of CRES
It’s a frequency measurement!
Differential spectrometry
Don’t need to transport electrons from source to measure their energy
Very low background
Compatible with atomic tritium
e-
MAC-E requires transporting electrons over long distances without perturbing their energy
Energy can be measured without transporting electrons
KATRIN collaboration, Science (2025)

## Slide 13: Advantages of CRES
It’s a frequency measurement!
Differential spectrometry
Don’t need to transport electrons from source to measure their energy
Very low background
Compatible with atomic tritium
Unique signature of CRES signal makes it resistant to many types of backgrounds

## Slide 14: Advantages of CRES
It’s a frequency measurement!
Differential spectrometry
Don’t need to transport electrons from source to measure their energy
Very low background
Compatible with atomic tritium
Avoid final state broadening due to rotational and vibrational modes in the T2 molecule
J. Formaggio et. al., Phys.Rept. 914 (2021) 1-54
T2 molecule
vibration
rotation

## Slide 15: Towards 0.04 eV sensitivity to with the Project 8 experiment
Project 8 sensitivity goal

## Slide 16
Collaboration
With thanks to our funding agencies:
University of Washington, 2026

## Slide 17: The path to 0.04 eV sensitivity
Phase I
First demonstration of CRES
Phase II
First CRES-based neutrino mass limit
Phase III
Technology development to achieve final sensitivity
Neutrino mass sensitivity comparable to KATRIN
Project 8 Collaboration, Phys. Rev. Lett. (2015)
Project 8 Collaboration, Phys. Rev. Lett. (2023)
Project 8 Collaboration, Phys. Rev. C (2024)
Phase IV
0.04 eV neutrino mass sensitivity

## Slide 18: Experimental realities: dynamics of an electron in a magnetic trap
e-
3H
3He+
The electron may be emitted in any direction
Magnetic trap required to trap electrons long enough to be detected
Pitch angle defined as the angle between the electron momentum and the magnetic field
Only electrons with will be stored

## Slide 19: Dynamics of an electron in a magnetic trap
Untrapped electron,
Power
Frequency
No signal
cyclotron motion
Power
Frequency
“carrier”

## Slide 20: Dynamics of an electron in a magnetic trap
Average field experienced by electron depends on electron kinematics within the trap
Sideband structure gives information about
cyclotron motion
axial motion
Power
Frequency
Lower average , lower
Minimum trapped pitch angle,
axial motion
cyclotron motion
Higher average , higher
Power
Frequency

## Slide 21: Phase II apparatus
< 0.1% magnetic field dip traps electrons
1 cm
Read out RF signal
At 85 K
Voltage vs. time signal
Sidebands not visible in Phase II due to experimental design
Project 8 Collaboration, JINST (2026)

## Slide 22: Characterizing detector response with Krypton
Excited nucleus interacts with atomic electrons and one is ejected
Adapted from Hyperphysics, C.R. Nave
83mKr
Frequency response mapping using 17.8 keV 83mKr line
Project 8 Collaboration, Phys. Rev. Lett. (2023)
Project 8 Collaboration, Phys. Rev. C (2024)
M1
M2
M3
Measurement of 83mKr conversion lines demonstrates good energy resolution

## Slide 23: Energy resolution dependent on trap depth
Project 8 Collaboration, Phys. Rev. Lett. (2023)
Project 8 Collaboration, Phys. Rev. C (2024)
Deep trap
Shallow trap
Larger field variation experienced by electrons
Higher statistics
Smaller field variation experienced by electrons
Lower statistics
Achieved energy resolution of 1.7 eV (FWHM)
Avoid tradeoff between statistics and resolution in future experiments by detecting sidebands

## Slide 24: First upper limit on using CRES
Project 8 Collaboration, Phys. Rev. Lett. 131, 102502 (2023)
Project 8 Collaboration, Phys. Rev. C 109, 035503 (2024)
Background rate
No events above endpoint!
Neutrino mass
Frequentist:
Bayesian:

## Slide 25: Spectrometer size comparisons
Project 8 Phase II spectrometer
(to scale)
KATRIN spectrometer
KATRIN
Slide credit: H. Robertson

## Slide 26: The path to 0.04 eV sensitivity
Phase I
First demonstration of CRES
Phase II
First CRES-based neutrino mass measurement
Phase III
Technology development to achieve final sensitivity
Neutrino mass sensitivity comparable to KATRIN
Project 8 Collaboration, Phys. Rev. Lett. (2015)
Project 8 Collaboration, Phys. Rev. Lett. (2023)
Project 8 Collaboration, Phys. Rev. C (2024)
You are here
Phase IV
0.04 eV neutrino mass sensitivity

## Slide 27: Factors contributing to sensitivity to
Massively scale up detection volume using resonant cavities
Achieve sufficiently high density of atomic tritium
Maintain low background
Improve energy resolution
Understand response function using various calibration sources
Source gas density
Runtime
Background
Response function stdevs. (resolution)
Uncertainties on response function
Effective volume
(volume × efficiency)

## Slide 28: Phase III goals to achieve final sensitivity
Magnetically trapped cold atomic tritium (n)
Massively scaling up detection volume (Veff)
  Resonant cavities allow for increased volume with resonant enhancement of SNR
Integrated magnetic field design of atom trap and CRES trap
A. Lindman

## Slide 29: Integrated design for future experiments
Atomic tritium beamline
Magnetic atom trap
CRES trapping coils
Background field solenoid
A. Lindman

## Slide 30: Progress is still being made toward understanding tritium physics…
Low field seeking states
High field seeking states (untrappable)
Low-field seeking states of atomic tritium can be magnetically trapped
Hydrogen
Tritium
Tritium-tritium interactions cause atoms to scatter into untrappable states at a much higher rate than hydrogen
M. G. Elliott and B. J. P. Jones, Elastic and spin-changing cross sections of spin-polarized atomic tritium, Phys. Rev. A (2025)
Rate constants for loss of trappable high-field-seeking states

## Slide 31: …Resulting in updates to the experimental design
Project 8 originally planned for magnetogravitational tritium trap
  Tritium loss is enhanced due to pooling at the bottom
 movement toward fully magnetic design
Simulations suggest that overtrapping of low pitch angle electrons is mitigated by loss at cones used for tritium loading
Notional tritium density profiles for vertical vs. horizontal design
P. Slocum
Most electrons overtrapped by atom trap hit the cones and are lost
B. Jones
Preliminary horizontal design
M. Huehn

## Slide 32: Creating and cooling atomic tritium without recombination is very challenging
T2 to T cracks on hot tungsten (2200K)
T binds to solid surfaces (~10K)
Optimal temperature for trapping T (~4mK)
Accommodator
(cool by scattering)
MECB
(cool by evaporation)
B. Jones

## Slide 33: Atomic tritium source development
Dissociator
Electron cyclotron resonance plasma source
Commercial thermal cracker
Superfluid helium source
Cryogenic buffer-gas cooling
Centrifuge deceleration
Accommodator
Accommodator
Magnetic capture
Halbach guide
MECB
Magnetic evaporative cooling beamline
Trapping
Magnetic Ioffe trap

## Slide 34: Atomic tritium highlights
Dissociator
Accommodator
Magnetic capture
MECB
Trapping
Magnetic Evaporative Cooling Beamline (MECB) design
Only the highest energy atoms escape magnetic potential
Multipole atom guide
Lower magnetic guide walls while allowing atoms to evaporate transversely
Use wiggles to slow the beam
B. Jones
Project 8 Collaboration, Phys. Rev. A 112, 033311 (2025)
Ioffe trap design
First dissociation in ECR source
M. Oueslati

## Slide 35: Massively scale up detection volume Veff using resonant cavities
Test that CRES works in a resonant cavity with the Cavity CRES apparatus (CCA)
  Same frequency as Phase II, allowing for reuse of electronics and setup
  *Krypton and electron gun CRES only, no neutrino mass measurement
Test that experiment works at low frequency and large scale with the Low Frequency Apparatus (LFA),
Scale up even more for Phase IV
LFA size: ~m3-scale effective volume
Phase II:
~mm3-scale effective volume
CCA cavity
130 mm
26 GHz
Phase I & II
LFA
Phase IV
Low field/low frequency required to keep atoms trapped

## Slide 36: Goals of the Cavity CRES Apparatus (CCA)
First demonstration of CRES in a resonant cavity
Calibration info encoded in CRES signal and careful magnetic trap design factor of ~5 narrower detector response
New calibration techniques detector response width characterization to ~2%
Science goal: spectroscopy of K-, L-, M-, and N- conversion electrons from the 32 keV 83mKr transition
  Precisely characterize shakeoff and shakeup
  Resolve the N2-32 and N3-32 conversion electron lines
Hyperphysics
CCA cavity
130 mm

## Slide 37: Design of the cavity CRES apparatus (CCA)
RF amplifier
electron gun
scale: 1 m
electron
trapping
coils
CRES cavity
RF waveguide
cyclotron radiation travels along RF waveguide toward amplifier
Michael Huehn
field-shifting solenoid
gas line

## Slide 38: CCA commissioning underway!
CCA apparatus in MRI magnet
CCA apparatus in MRI magnet
Electron gun positioning system and electrical feedthroughs
RF waveguide and amplifier
Trap coils
Gas line
Thermal shield
First warm characterization of cavity RF resonance
Warm RF characterization
Cavity
Temperatures during first cooldown
Temperature (K)
Slide credit: E. Novitski

## Slide 39: Electron-by-electron magnetic field corrections for sub-eV energy resolution
Power
Frequency
Cavity bandwidth
83mKr N-line spectra
With Phase II resolution of 1.7 eV FWHM
With CCA resolution of 0.3 eV FWHM
Require cavity bandwidth wide enough to see side bands
Extracting the axial frequency allows event-by-event magnetic field corrections
Y.-H. Sun
(too faint to see)
scatter
scatter
*simulation
N2-32 and N3-32 lines, separated by ~0.67 eV, would be distinguishable

## Slide 40: Reconstruction for the Project 8 experiment
Voltage vs. time
Kinetic
energy

## Slide 41: Frequency-based reconstruction algorithm for the CCA
Voltage vs. time
Short time Fourier transform
Kinetic
energy
Spectrogram construction and background removal
Track finding and event building
Event-by event conversion to energy
Energy [keV]
[kHz]
[GHz]
Track classification
“carrier”
“sideband”
J. Peña

## Slide 42: Advanced reconstruction algorithms for the CCA and future
Voltage vs. time
Short time Fourier transform
Kinetic
energy
Spectrogram construction and background removal
Machine learning-based track finding and classification
U-Net
Project 8 Collaboration, Mach. Learn.: Sci. Technol. (2024)
Graph neural network (GNN)
V. Sharma
Event-by event conversion to energy
Energy [keV]
[kHz]
[GHz]
J. Peña

## Slide 43: Advanced reconstruction algorithms for the CCA and future
Voltage vs. time
Kinetic
energy
New time series approaches
Matched filtering on time series data
State space machine learning models
Denoising results using SSM
Energy reconstruction
H. Binney, L. Felipe Koehler Domingues, C. Reissel
E. Karim

## Slide 44: Development of improved calibration methods for the CCA and future
Electron gun calibration source with near-monoenergetic electrons provides information about detector response
In-situ magnetometry development using polarized helium
A. Kurmus, S. Kuenstner
Proton NMR probes outside the detector region for field monitoring
P. Kolbeck
M. Kallander

## Slide 45: Moving towards the Low Frequency Apparatus (LFA)
Next neutrino mass experiment in Project 8 R&D program
TE011 mode at 560 MHz frequency
21 mT field, larger volume
Upgradable to use atomic tritium
  Goal of KATRIN-like sensitivity to
Magnetic atom trap
Background field solenoid
Microwave cavity

## Slide 46: Scaling up cavities for the LFA
Significant progress on scaling cavity designs to reach desired performance for the LFA
Progress on multimode cavities, patch readouts, magnet fabrication…
Mid-sized cavity prototyping to test readout and mode filtering
Development of modular LFA design
Testing of multimode designs to read out TE011 and TE012
New readout schemes (patch antennae)
M. Brandsema
M. Huehn
V. Ranatunga

## Slide 47: …And many other developments for Phase III
Lithium MECB demonstrator
A. Negi, B. Jones
C. Matthé
Project 8 Experiment, Eur. Phys. J. (2025)
Calorimetric wire detector for atomic beam measurement
Quantum electronics for improved SNR
W. Van de Pontseele, J. Wang, C. Denney
Low frequency JPA
Low frequency TWPA

## Slide 48: The path to 0.04 eV sensitivity
Phase I
First demonstration of CRES
Phase II
First CRES-based neutrino mass measurement
Phase III
Technology development to achieve final sensitivity
Neutrino mass sensitivity comparable to KATRIN
Phase IV
0.04 eV neutrino mass sensitivity
Project 8 Collaboration, Phys. Rev. Lett. (2015)
Project 8 Collaboration, Phys. Rev. Lett. (2023)
Project 8 Collaboration, Phys. Rev. C (2024)

## Slide 49: Achieving 0.04 eV sensitivity
T. Weiss
Lower frequency and larger volume than the LFA
x10

## Slide 50: Backgrounds and systematics for current and future experiments
Contributions to background b
False events from noise
  Tradeoff between noise rate and detection efficiency depends on SNR
Cosmic ray interactions with T
Source purity
  Must keep N(T2)/N(T) below 10–4
Contributions to response function (energy resolution)
Knowledge of magnetic field
  Requires good calibration, good reconstruction, good detector response characterization
  B-field uncertainty dominated in Phase II, will likely dominate in future phases
Thermal doppler broadening, scattering, plasma effects, pileup, …
Counts, scaled by bin width
Kinetic energy (keV)
Beta spectrum from T
Beta spectrum from T2
FWHM = 54 eV
FWHM = 2 eV
Phase II response function (Kr)

## Slide 51: Sensitivity to secondary physics
Simultaneous measurement of active neutrino mass and search for sterile neutrinos
Sterile neutrino state causes a distortion (kink) in the tritium beta decay spectrum
Plan to search for eV-scale sterile neutrinos
Sensitivity to cosmic neutrino background; still under investigation
Sensitivity to mass ordering
sin2θ = 0.3
P8 Phase IV projected, two methods, (95% CL)
KATRIN (projected, 95% CL)
Reactor anomaly (95% CL)
BEST anomaly (2)
C.-H. Lam
P. Teja Surukuchi
Phys. Rev. C 103, 065501 (2021)

## Slide 52: Summary
Project 8 is developing CRES technique for next generation neutrino mass measurement
Next prototype (CCA) will demonstrate high energy resolution and CRES in cavity geometry; commissioning underway now!
Implementing a staged R&D approach in many areas, including cavity design, reconstruction, cold atomic tritium source, calibration, …
Project 8 aims to achieve 40 meV sensitivity to the neutrino mass
Project 8 sensitivity goal

## Slide 53: Backup

## Slide 54: Signals in future stages will pose analysis challenges
Example simulation with pileup and scattering
Fraction of the the time another event starts before scatter
Nominal LFA frequency (560 MHz)
Even lower frequencies for Phase IV
Pileup will increase as detection volume increases
Signal power will decrease with large cavities
  Expect ~aW power!
Very high energy resolution required
Justifies investigating creative reconstruction and analysis ideas!

## Slide 55: Phase II tritium results: uncertainties
Statistics-limited; demonstrates understanding and control of systematics
We have paths to improving all these sources of uncertainty
Project 8 Collaboration, Phys. Rev. Lett. 131, 102502 (2023)
Project 8 Collaboration, Phys. Rev. C 109, 035503 (2024)

## Slide 56: Requirements, Part 2
T2 contamination leads to events past the endpoint.
  Need T2 contamination <10-4 of T density
Storage of large quantities of T in the beamline itself leads to a radioactivity load problem
  Should pump out recombined T2 gas from the beam to recirculate rather than freezing / storing on the walls
Technical interventions in tritium system are very challenging
  Must run without intervention for long periods with high reliability.
^ Glove boxes at TLK, from Magnus’s talk

## Slide 57: LFA neutrino mass sensitivity
57
Talia E. Weiss | Yale University
Preliminary

## Slide 58
58
Talia E. Weiss | Yale University
Example Phase IV scenario:
10 cavities with TE011 mode at 150 MHz
Livetime = 8 yrs
Background field = 5.5 mT
Trap length = 17.5 m
Cavity temperature = 2 K
Resolution contribution from magnetic field variation and reconstruction = 85 meV
Preliminary