## Slide 1
EPR introduction

## Slide 2: Bibliography
1st ed. 1967
eMagRes, 2017, Vol 6: 187–206.
Electron Paramagnetic Resonance Instrumentation
Edward Reijerse & Anton Savitsky

## Slide 3: The one
1944 - Zavoiski
© S. Bertaina

## Slide 4: Standard Bridge
Petr Neugebauer

## Slide 5: Source: Gunn diode
Noise figure
1/f noise
White noise

## Slide 6: Why use a cavity
Nulling the source to avoid saturation of the detector
Eclipse: a good way to null the sun

## Slide 7: The cavity

## Slide 8: Diode detector - Schottky

## Slide 9: Why use a lock in ?

## Slide 10: Field modulation

## Slide 11: Derivative of the signal

## Slide 12: Lock in amplifier

## Slide 13: Electron Spin Resonance
Relaxation time << experiment time: Transient regime or coherent
Relaxation time >> experiment time: Steady state regime or incoherent
Pulsed ESR:
Frequency fixed
Magnetic field fixed
Recorded in time
CW ESR :
Frequency fixed
Magnetic field swept
J. R. Johansson, et al. QuTiP 2: Comput. Phys. Commun. 184, 1234–1240 (2013).

## Slide 14: Choice of the frame
Brahe – Kepler (1609)
Astromia nova
Copernic (1530)
De Revolutionibus orbium coelestium

## Slide 15
Rotating frame transformation
Time dependant
Time independant
Right unitary transformation  problem solved

## Slide 16: Inhomogeneous line – in the rotating frame

## Slide 17: Inhomogeneous line – in the rotating frame

## Slide 18: Hahn echo sequence – Hard pulses

## Slide 19: CW spectrometer
100 kHz
Q=3000-5000

## Slide 20: Pulsed spectrometer
arXiv:1706.09259

## Slide 21: Resonator issues
Critical coupling  Q ~ 3000 , 100% EM power inside cavity
High Q resonator deforms square pulses
 Decrease Q

## Slide 22: Resonator issues
Critical coupling 0.01% reflected
Over coupled 75% reflected
Q factor | hmw | Power
3000 | 1G | 200mW
3000 | 5G | 0.2*52=5W
300 | 5G | 5x10=50W
300 | 5G | 50*42=800W

## Slide 23: Defense pulse
Donald J Hirsh & Gary W BrudvigNature Protocols volume 2, pages 1770–1781 (2007)